## Guidance
Guidance: Evaluation of Health Facilities / Ambulatory Care Services
[Interview with supervisor of health facility, staff, and use of Observations. Perspectives of clients are going to be gathered at community level using different tools and methods]
*Fill out one form per health facility or mobile clinic
to be completed

## General Information
General Information
Name of interviewer | Jehad Bero | Name of main respondant | Ayoup Maranazi
Sex of interviewer | Male | Sex of main respondent | Male
Date of the assessment | 2022-02-28 | Contact | 963946942487
Location | Azaz- Sejo

## General Information II
1. General Information (KII - Observation)
1.1 Name of Facility |  |  |  |  | 1.2 GPS location in decimal degrees
Name: | Al Rayyan PHC
Contact: | 963946942487
1.3 Facility Type |  |  |  |  | 1.4 Management (multiple choice if relevant)
1.5 Is facility temporary or permanent? |  |  |  |  | 1.6 Has facility been damaged ?
Days of operation: |  | 6 Days
Hours of operation: |  | 8 hours per day
Does the facility have mobile health services?
If yes, describe:
If damaged, |  | Total | Severe | Moderate | Mild | Causes of damage (natural disaster, war, other etc) | Details of Damage
Building
Equipment
Medical Supplies
Electrical supply/fuel
Injury/death of staff or patients
1.7 Physical access to facility (check one): (KII, O)
For men/women/children/persons with physical disabilities (check what applies)
|  | Men | Women | Adolescent Girls | Adolescent boys | Persons with disabilities
Easy Access |  | Yes | Yes | Yes | Yes | Yes
Access with obstacles
Very difficult
Please explain:
Is the structure safely and easily accessible to women? (facility)
|  |  |  | Yes | No | If no, explain
Safety to access via routes to facility
Safety around the building (lighting, entrance publicly visible)
Safety inside the building and with staff/personnel (lockable doors, separate waiting area for women and children, mixed gender staff in the facility, etc.
Is the structure safely and easily accessible to people with disabilities (is the building designed to be disability-friendly)?
If no, explain:
Average distance in km from the closest village people come from:
Average distance in km from the most remote village people come from:
Names of most remote villages people come from:
Time from the most remote village people come: |  |  |  |  | Number of hours | Cost in local currency
Walking |  |  |  |  | 5 minuts
Bus
Car |  |  |  |  | 5-10 minuts
Other type of transport
1.8 Financial access to facility services (choose one)
Are vulnerable people turned away because of lack of resources to payment or other reasons?
(explain)
|  | (explain) |  |  | Non Pregnant and Lactating Women
Are consultations free for specific groups? (IPD, Refugees, other)? Please specify which groups do not pay: |  |  |  |  | Pregnant and lactating women
Children under 5-y old
Children over 5-y old
Adolescents
Cost per consultation in local currency: |  |  |  |  | Men
Elderly
Explain what contribution is required for access to services: |  |  |  |  | People with disabilities
Marginalized group
Other
Explain:
1.9 Name and type of closest referral health facility |  |  |  |  | 1.10 Are vehicles/other means of transport available for referrals?
Name: | Al Nour PHC
Distance in km: | 1.5 |  |  |  | If yes, please explain:
Type :
Availability of basic emergency neonatal and obstetric care in referral health facility? |  |  |  |  | Other comments:
Availability of comprehensive emergency neonatal and obstetric care in referral health facility?
Availability of long lasting reversible contraceptives (IUD, Implants) in referral health facility?
Availability of nutrition services in referral health facility? What type? (OTP, SC)
Availability of specialised mental health care in referral health facility?
1.11 Does the facility have separate areas/rooms for the following:
|  |  |  | Yes | No | Comments
Separate waiting areas for men and women
Separate bathrooms/latrine for men and women
Private examination rooms
Emergency care
Maternity with labor and delivery
Operating Theatre
Pharmacy/Dispensing room
Laboratory
Nutrition
Counselling
Childcare/child-friendly area
Food preparation
GBV Consultations
Ministry of Health
IMC
NGO
Other:
Hospital
Health Post
Mobile Clinic
Health Center
Clinic
Other:
Yes
No
Yes
No
Temporary
Permanent
Yes
No
Yes
No
0-5km
5-10km
Over 10 km
0-5km
5-10km
Over 10 km
Free
Small payment
Large payment
Yes
No
Yes
No
Yes
No
Yes
No
Yes
No
Yes
No
Yes
No
Yes
No
Yes
No
Yes
No
Hospital
Health Center
Yes
No
Yes
No
Yes
No
Yes
No
Yes
No
Yes
No
Yes
No

## Health Care Staff
2. Health care staff (KII,O)
2.1 Who provides health care in this facility? (check all that apply)
| #M | #F | # consultations per day | Received training? (formal, ongoing, pre-service, in-service, other) |  |  |  |  | Availability? (number of days present and available in the health facility per week)
Nurse | 1
General Practitioner | 4
Surgeon
Internist
Pediatrician
Obstetrician-Gynecologist
Medical assistant | 3 | 1
Vaccinator
Midwife |  | 2
Lab technician
Pharmacist/Pharmacy tech | 1
Psychiatrist
Psychologist
General practitioner trained in mental health (mhGAP) | 1
GBV focal point
Nutrition staff | 4 | 2
IYCF staff
Other
Number of staff trained in specific trainings in… |  |  |  | Doctors |  | Nurses |  | CHWs |  | Others
|  |  |  | M | F | M | F | M | F | M | F
Identification and management of priority mental health problems (epilepsy, psychotic disorders, depression)
Basic psychosocial support
Psychological First Aid (PFA)
Clinical management of rape (CMR)
Treatment of acute malnutrition | [7 empty] | 2 | 2
SFP | [7 empty] | 2 | 2
OTP | [7 empty] | 2 | 2
SAM with Complications | [7 empty] | 2 | 2
Infant and young child feeding practices (IYCF) | [7 empty] | 2 | 2
Adolescent-friendly secual and reproductive health services
Emergency Obstetric Care
Post abortion care (PAC) and family planning
Newborn resuscitation and newborn care
Basic GBV concepts and guiding principles
The care of girls (children) who have experienced GBV
Protection from Sexual Exploitation and Abuse (PSEA)
Preparedness response and disaster risk reduction
Pharmaceutical Supply Chain Management including proper disposal of expired medicines | [9 empty] | 1
Health emergency management / health disaster coordination / incident command
Post disaster health needs assessments
Infection Prevention Control |  |  |  | 3 |  | 1 |  |  |  | 3
Mass casualty management
2.2 Are community-based health services delivered in the catchment area of the health facility?
If yes, who provides and how many providers? (KII)
|  | #M | #F
|  | 2 | 1
Specify:
2.3 - Is there a designated health disaster coordinator/emergency manager and/or team identified from the preceding staff?
If yes, please specify who is designated:
Yes
No
Village midwives/Traditional Birth Attendants
Community health workers
Traditional Healers
Others (community groups, networks?)
No
Yes

## Services Available
2.3 Checklist of services available: (IC, O)
| Area/Subsectors |  |  | Health Services (RH MISP Services in bold) | Y | N
C. Community Care | C0 | Collection of Vital Statistics | C01 | Deaths and Births |  | ✔
|  |  | C02 | Others; e.g populations movements; registry of pregnant women, newborn children | ✔
| C2 | Child Health | C21 | IMCI community component : IEC of child care taker + active case finding | ✔
|  |  | C22 | Home-based treatment of : fever/malaria, ARI/pneumonia, dehydration due to acute diarrhea | ✔
|  |  | C23 | Community mobilization for and support to mass vaccination campaigns and/or mass drug administration/treatments | ✔
| C3 | Nutrition | C31 | Nutrition Screening including for acute malnutrition (MUAC and or weight and height); micronutrient deficiencies, etc | ✔
|  |  | C32 | Treatment of Sever acute malnutrition and moderate acute malnutriton | ✔
|  |  | C33 | Follow up of children enrolled in CMAM program (trace defaulters) | ✔
|  |  | C34 | Nutrition (including IYCF; prevention of malnutrition both acute and chronic and micronutrient deficiencies) behavior change | ✔
| C4 | Communicable Diseases | C41 | Vector control (IEC + impregnated bed nets _ in/out door insecticide spraying) |  | ✔
|  |  | C42 | Community mobilization for and support to mass vaccinations and/or drug administration/treatments | ✔
|  |  | C43 | IEC on locally priority diseases (e.g. TB self referral, malaria self referral, others) | ✔
| C5 | STI and HIV/AIDS | C51 | Community leaders advocacy on STI/HIV |  | ✔
|  |  | C52 | IEC on prevention of STI/HIV infections and behavior change communication |  | ✔
|  |  | C53 | Ensure access to free condoms | ✔
| C6 | Maternal & Newborn Health |  | Clean home delivery, including distribution of clean delivery kits to visibly pregnant women, IEC and behavioral change communication, knowledge of danger signs and where/when to go for help, support breast feeding |  | ✔
C61
| C8 | Non-Communicable Diseases and Mental Health |  | Promote self-care, provide basic health care and psychosocial support, identify and refer severe cases for treatment, provide needed follow-up to people discharged by facility-based health and social services for people with chronic health conditions, disabilities and mental health problems, IEC materials/CHWs promotion for information dissemination about services and referrals based on PFA and GBV Guiding Principles | ✔
C81
| C9 | Environmental Health | C91 | IEC on hygiene promotion and water and sanitation, community mobilization for clean up campaigns and/or other sanitation activities |  | ✔
P. Primary Health | P1 | General clinical services | P11 | Outpatient services | ✔
|  |  | P12 | Basic laboratory |  | ✔
|  |  | P13 | Short hospitalization capacity (5-10 beds) | ✔
|  |  | P14 | Referral capacity : referral procedures, means of communication, transportation | ✔
|  |  | P15 | Pharmacy Services with essential medicines in stock | ✔
| P2 | Child Health | P21 | EPI : routine immunization against all national target diseases and adequate cold chain in place | ✔
|  |  | P22 | Under 5 clinic conducted by IMCI-trained health staff |  | ✔
|  |  | P23 | Screening of malnutrition (growth monitoring or MUAC or W/H, H/A) | ✔
| P3 | Nutrition | P31 | Treatment of moderate acute malnutrition (SFP) | ✔
|  |  | P32 | Treatment of severe acute malnutrition without medical complications (OTP) | ✔
|  |  | P33 | Referral for treatment of acute malnutrition with medical complications to inpatient facility (IPF/SC) | ✔
|  |  | P34 | Treatment of micronutrient deficiencies | ✔
|  |  | P35a | Maternal nutrition counseling | ✔
|  |  | P35b | Treatment of malnourished PLW | ✔
|  |  | P36 | Counselling/support of optimal infant and young child feeding | ✔
| P4 | Communicable Diseases | P41 | Sentinel site of early warning system of epidemic prone diseases, outbreak response (EWARN) | ✔
|  |  | P42 | Diagnosis and treatment of malaria |  | ✔
|  |  | P43 | Diagnosis and treatment of TB |  | ✔
|  |  | P44 | Other local relevant communicable diseases (e.g. sleeping sickness, leishmaniasis) |  | ✔
| Sexual and Reproductive Health | P5 STI & HIV/AIDS | P51 | Syndromic management of sexually transmitted infections |  | ✔
|  |  | P52 | Standard precautions: disposable needles and syringes, safety sharp disposal containers, personal protective equipment (PPE), sterilizer | ✔
|  |  | P53 | Availability of free condoms | ✔
|  |  | P54 | Prophylaxis and treatment of opportunistic infections | ✔
|  |  | P55 | HIV counseling and testing |  | ✔
|  |  | P56 | Prevention of mother-to-child HIV transmission (PMTCT) |  | ✔
|  |  | P57 | Antiretroviral treatment (ART) |  | ✔
|  | P6 Maternal and Newborn Health | P61 | Family Planning including emergency contraception | ✔
|  |  |  | Antenatal care: assess pregnancy, birth and emergency plan, respond to problems (observed and/or reported), advise/counsel on nutrition and breastfeeding, self-care and family planning, preventive treatments as appropriate | ✔
P62
|  |  | P63 | Skilled care during childbirth for clean and safe normal delivery |  | ✔
|  |  | P64 | Essential newborn care: basic newborn resuscitation + warmth (recommended method: Kangaroo Mother Care - KMC) + eye prophylaxis + clean cord care + early and exclusive breast feeding 24/24 & 7/7 |  | ✔
|  |  |  | Basic emergency obstetric care (BEmOC): parenteral antibiotics + oxytocic/anticonvulsivant drugs + manual removal of placenta + removal of retained products with manual vacuum aspiration (MVA) + assisted vaginal delivery 24/24 & 7/7 |  | ✔
|  |  | P65 |  |  | ✔
|  |  | P66 | Post-partum care: examination of mother and newborn (up to 6 weeks), respond to observed signs, support breast feeding, family planning information | ✔
|  |  |  | Comprehensive abortion care including post abortion care: safe induced abortion for all legal indications, | ✔
|  |  | P67 | uterine evacuation using MVA or medical methods, antibiotic prophylaxis, treatment of abortion complications, counseling for abortion and post-abortion contraception | ✔
|  | P7 Sexual Violence | P71 | Clinical management of rape | ✔
|  |  | P72 | Emergency contraception | ✔
|  |  | P73 | Post-exposure prophylaxis (PEP) for STI & HIV infections, Hepatitis B and Tetanus vaccination |  | ✔
|  |  | P74 | Case management and psychosocial support (social workers) | ✔
| P8 | Non- Communicable Diseases and Mental Health | P81 | Injury care and mass casualty management | ✔
|  |  | P82 | Hypertension treatment | ✔
|  |  | P83 | Diabetes treatment | ✔
|  |  |  | Asthma treatment | ✔
|  |  | P84 | Mental health care : support of acute distress and anxiety, front line management of severe and common mental, neurological, and substance use disorders | ✔
| P9 | Environmental Health | P91 | Health facility safe waste disposal and management | ✔
S. Secondary and Tertiary Care | S1 | General Clinical Services | S11 | Inpatients services (medical, pediatrics and obstetrics and gynecology wards; nutriton) |  | ✔
|  |  | S12 | Emergency and elective surgery |  | ✔
|  |  | S13 | Laboratory services (including public health laboratory) |  | ✔
|  |  | S14 | Blood bank services |  | ✔
|  |  | S15 | X-Ray Services |  | ✔
|  |  | S16 | Pharmacy Services with essential medicines in stock | ✔
| S2 | Child Health | S21 | Management of children classified with severe or very severe diseases (parenteral fluids and drugs, O2) | ✔
| S3 | Nutrition | S31 | Treatment of acute malnutrition with medical complications (SC/IPF) and infants <6m with acute malnutrition | ✔
|  |  | S32 | Support for breastfeeding complications and support for early initiation of breastfeeding; | ✔
| S6 | Maternal and Newborn Health | S61 | Comprehensive essential obstetric care : BEmOC + cesarean section + safe blood transfusion |  | ✔
| S8 | Non-communicable diseases and mental health | S81 | Disabilities and injuries rehabilitation |  | ✔
|  |  | S82 | Out-patient psychiatric care and psychological counselling | ✔
|  |  | S83 | Acute psychiatric in-patient unit |  | ✔
Remarks?

## Essential Medical Supplies
2.4 Essential drugs, vaccines and supplies
Essential drugs (list to be adapted to each country context – possible to use a separate checklist) | Available |  |  |  |  | Unavailable | Duration of stock outs | Reasons for unavailability | Other Comments
| Never | Sometimes |  | Usually
Analgesics and Antipyretics | [6 empty] | Month
General and local anestethics and oxygen
Antiallergic and meds used in Anaphylaxis
Antibiotics (ARI)
Antibiotics (oral and injectable)
Anticonvulsants/Antiepileptics/meds used in eclampsia/pre-eclampsia
Antidotes (activated charcoal, Atropine, Tetanus vaccine)
Anti-fungals
Anti-malarials
Anti-parasitics
Antipyretic
Antituberculosis medicines
ARVs
BCG
Cardiovascular Medicines including Antihypertensives
Contraception | [8 empty] | Types of contraception?
Cotrimoxazole
Diabetes Medicines
Family Planning Commodities (emergency contraception, condoms (male and female), combined oral contractive pills, progestin only pills, depoprovera injectables, implants (implanon, Jadelle), IUDs)
Magnesium Sulfate
Measles vaccines
ORS / Zinc Oxide
Oxytocin/misoprostol
Parenteral solutions
PENTA
PEP kit
Polio
Tetanus toxoid
Tetracycline eye oitment
Vitamins and minerals
Nutrition products | Available |  |  |  |  | Unavailable | Duration of stock outs | Reasons for unavailability | Other Comments
| Never | Sometimes |  | Usually
RUTF (plumpy’nut)
RUSF (plumpy’sup, nutributter, CSB, SuperCereal, Plumpy’doz
F75
F100
ReSoMal
Albendazole
Amoxycillin
Paracheck test
Micronutrient powders (MNP, VMP) or tablets for PLW
Iron folic acid
Vitamin A supplements
Zinc supplements
RUIF or PIF (generic label)
Food for hospitalized patients
Psychotropic essential medications | Available |  |  |  |  | Unavailable | Duration of stock outs | Reasons for unavailability | Other Comments
| Never | Sometimes |  | Usually
General anti-depressants (amitriptyline, fluoxetine)
Generic anxiolytics (diazepam)
Generic anti-psychotics (haloperidol tab, inj, chlorpromazine, Thioridazine)
Generic antiepileptic (phenobarbital carbamazepine, diazepam inj, valproic acid)
Meds for Bipolor Disorder (valproic acid, carbamazepine)
Med for addiction programs (nicotine replacement therapy)
Generic anti-Parkinsons (biperiden)
Supplies | Available |  | Functional/ |  | Comments about functionality |  |  | Reasons for unavailability | Other Comments
in good state
Dressing materials
Registers for reporting
MUAC tapes
Infant weighing scale
Hanging scale
Height board
IEC/counselling materials
Mother/child scales
Supplies for infection prevention (gloves, soap, sterile gloves, chlorine, supplies for decontamination)
Reporting tools
Secured storage for files w/ lock
Cold chain
Availability of an ambulance |  |  |  | Type of ambulance:
Existence of a Referral System
|  | Existence? | Functional? | # of referrals in the last 3 monthes
|  |  |  | Men | Women | Children
Referral to specialized medical services |  |  |  | 40 | 50 | 51
Referral to community services (for GBV, protection, psychosocial support) |  |  |  | 43 | 66 | 67
Yes
No

## WASH
WASH IN HEALTH FACILITIES RAPID ASSESSMENT
Instruction on the usage of the RAT. • The assessment should be done preferably by WASH technical person, but could be done by non WASH technical staff with prior briefing/ or training. • Assessment should be done with the guide at hand • Observation is main method of the assessment, unless indicated (KI) • Answers like Don’t know, somehow, partly etc should be considered NO. • Take as much as pictures as possible for all observations
I. Key Informative (KI)
Basic data's
Number of Staff: medical +non medical | 35 | Number Deliveries/day |  | 100
Number of Family members residing at HF grounds |  | Number of Dry supplementary feeding center, |  | 5
Number Outpatients/day | 220 | Inpatient therapeutic feeding bed/size |  | 30
Number of Inpatients (Beds) |  | Wet supplementary feeding, number |  | 15
Number Surgeries/day |  | Occupancy Rate: % |  | 100
Number of WASH staff |  |  | Cleaners, waste managers, plumbers, others
1.1. Are WASH staff trained by the health facility for operation and maintenance? KI | Yes |  | Comments
| No | ✔
1.2. Are staff provided with necessary technical and administrative tools? KI | Yes | ✔ | Comments
No
1.3. Are staff exposed to health risks vaccinated against Hepatits B & tetanus? KI | Yes | ✔ | Comments
No
1.4. Do staff exposed to health risks have access to Post exposure profilaxis (PEP)? KI | Yes | ✔ | Comments
No
2.1. Is the above mentioned water available consistently at all times? (KI) | Yes | ✔ | Comments
No
2.3. Is there an identified backup source of water supply (city line, neighbor source, water trucking)? If yes please specify. (KI) | Yes | ✔ | Comments
No
2.4. Are there users of the health facility water other than the patient, carers and staff? If yes please specify (KI) | Yes |  | Comments
| No | ✔
3.2. Is Free Residual Chlorine checked? If yes specify frequency. (KI) | Yes |  | Water comes sterilized from the source
No
3.3. Is there any Microbial test done ? If yes please put the date and the result in attachment/summary.(KI) | Yes |  | The test is done from the source
| No | ✔
3.4. Is there any chemical composition test done? If yes please put the date and the result in attachment/summary. (KI) | Yes |  | Comments
| No | ✔
3.5. Is the water accepted by the beneficiaries (no taste, color, and odor?) (KI) | Yes | ✔ | Comments
No
4.4. Is there a committee for infection prevention control? (KI) | Yes | ✔ | Comments
No
4.5. Are reusable medical equipment and instruments cleaned and disinfected ? If yes specify including type of disinfectant (KI) | Yes | ✔ | Chlorine and Cidex solution
No
4.6. Are reusable medical equipment and instruments being sterilised? If yes specify (KI) | Yes | ✔ | Autoclaves, dry heat sterilizers and disinfecting chemicals
No
4.7. Is a surface and ward cleaning and desinfection system in place? If yes please specify how in the comment space. | Yes | ✔ | Cleaning the blood and pollution using chlorine
No
4.8. Are personal protective equipments available? If yes list in the comment space. | Yes | ✔ | Gloves + masks + gowns + face masks
No
4.11. Is there any Infection control prevention, protocol, procedure documented ? If yes please attach/summary | Yes | ✔ | Comments
No
6.1. Is there any onsite wastewater disposal (infiltration trenches, soak away pits, evaporation pond etc. )? If no, use the comment space explaining how it is disposed of | Yes | ✔ | Sanitation
No
6.4 Are all waste water treatment and disposal facilities checked and maintained? If yes specify frequency | Yes |  | Comments
| No | ✔
7.1. Is medical waste treated and disposed onsite (in the premises of the heath facility)? If no please use the comment space to indicate where. KI | Yes |  | specialized incinerators
| No | ✔
7.9. Is there national guideline for medical waste management? If yes attach/summary . (KI) | Yes |  | Comments
| No | ✔
8.1. Are any of the following vector transmitted disease endemic to the area? Malaria, Dengue, Yellow Fever, Enteric infections, Leishmaniasis, Eye infections, Typhus, Relapsing Fever, Trench Fever, Plague, Typhus, Lassa fever, Salmonellosis, Scrub, typhus, Scabies, Leptospirosis, Plague, Hanta Fever. If yes please underline. ( KI) | Yes |  | Leishmaniasis + scabies
| No | ✔
8.2 If any of the above are endemic and/ or high presence of vector, are there any vector control measures taken? If yes please use the comment space to specify. | Yes |  | Through health awareness
| No | ✔
9.1. Is there a designated morgue or corpse holding area available within the health facility grounds? | Yes |  | Comments
| No | ✔
9.2. Does staff dealing with dead bodies have the appropriate protective equipment? If yes specify in comment space | Yes |  | Comments
| No | ✔
9.3. Does staff dealing with dead bodies have the procedures and protocols? If yes attach/ summary | Yes |  | Comments
| No | ✔
II. Observation/ Transect walk
WATER
Available daily water quantity in liters |  | Type of source- city water, borehole, well, spring,water trucking, Other…………………………………………………..
Available storage capacity in liters |  | Type of tank- plastic/pvc tank, metalic, concrete, bladder, other…………………………………
Is the above mentioned storage: clean, no leakage and properly placed (protected, shade, easy for regular and occasional maintenance)? | Yes | ✔ | Comments
No
If any possible contamination to sources, are they more than 30 meter from the water source? | Yes |  | Comments
| No | ✔
HYGIENE
Number bathing/shower facility for Patient | 0 | Describe physical state and type
Number bathing/shower facility for Staff | 0
4.1. Are there hand washing facilities at all critical points (wards for medical activity and patient, consultation, latrines etc)? | Yes | ✔ | Comments
No
4.2. Are hand washing facilities equiped with soap or other disinfectants available in all critical points? | Yes | ✔ | Comments
No
4.3. Are the bathing facilities appropriate for the users (culturally and socially, seperated by sex and staff/patients, accessible by childrens and disabled, safe,lighting, lockable doors)? | Yes |  | Comments
| No | ✔
4.9. Is there a designated area, that can be used for isolation in case needed? | Yes | ✔ | Comments
No
4.10. Is there a designated area for laundering any health facility material? If yes elaborate in comment space | Yes |  | Comments
| No | ✔
4.11. Is there any Infection control prevention, protocol, procedure documented ? If yes please attach/summary | Yes | ✔ | Comments
No
5. EXCRETA DISPOSAL
Number of latrines for staff | 2 | Please underline:- pit latrine, ventilated improved latrine, flush toilet, other (see picture)
Number of latrines for Patients | 0
5.1. Are latrines/toilets appropriate for the users (maintained, culturally and socially, separated by sex and staff/ patient) | Yes | ✔ | Comments
No
5.2 Are latrine accessible (access for disabled, children, at distance between 5 and 30 meters from the ward they are admitted)? | Yes | ✔ | Comments
No
5.3. Are Latrines/toilets in a safe location (to avoid sexual violence, night lights provided, doors with locks)? | Yes | ✔ | Comments
No
5.4. Are there hand washing facilities near the latrines, with soap or other disinfectants? | Yes | ✔ | Comments
No
5.5. Are Latrines placed at more than 30m from water sources? | Yes |  | Comments
| No | ✔
6. WASTEWATER DISPOSAL
6.2 If there is onsite disposal, is it sited at more than 30 meter from any water source ? | Yes | ✔ | Comments
No
6.3 Are there any wastewater pretreatment systems like grease trap (grease and soap remover), septic tanks and others? | Yes |  | Comments
| No | ✔
7. MEDICAL WASTE DISPOSAL
7.2. Are there Labled (by color, or name, or number) waste buckets/containers for the different types of waste (sharps, soft, organic and domestic/general) near the point of generation? If yes use the coment space to specify. | Yes | ✔ | In each doctor’s room there is a special box for uncontaminated medical waste (black bag) and contaminated medical waste (red bag), and in the dressing room and women’s clinic there are boxes of non-infectious waste (black bag), infectious liquid medical waste, blunt contaminated medical waste (red bag), and a safety box special for needles
No
7.3. Sharps: Are reusable/disposable sharp containers available? | Yes | ✔ | Comments
No
7.4. Sharps: Are sharp containers, regularly collected, and disposed of in a lined and secured pit? | Yes | ✔ | send it to specialized incinerators
No
7.5. Soft waste: Are soft waste buckets regularly collected , treated/ burnt in a good condition/working incinerator and disposed of in ash pit? | Yes | ✔ | Comments
No
7.6. Organic/placenta waste: Are organic/placenta buckets, collected and transported up on generation, and disposed of in a proper organic/placenta pit (secured and ventilated)? | Yes |  | There is no obstetrics section in the center
| No | ✔
7.7. Is there designated and protected (fenced) waste zone/area? | Yes | ✔ | Containers out of reach
No
7.8. Is there a designated area within the zone with access to hygiene facility (soap/desinfectant for hand washing and bucket (wastebin) cleaning and disinfection? | Yes | ✔ | Comments
No
General Impression

## Guidance-WASH
Guide for Rapid WASH in Health facility Assessment tool
1. Staff management: -.
1.1. Ensure staff (Cleaners/water sanitation manager/technicians) are trained in their specific task in health care setting
1.2. Those staff should be equipped with administrative and technical tools: Job descriptions, PPE while dealing with hazardous waste, working tools
1.3. Vaccination of staff exposed to health risks: Hepatitis B and Tetanus
1.4. Provide access to the Post-Exposure Prophylaxis (PEP) kit to the staff exposed to HIV/AIDS risks.
2. Water Quantity
2.1. A health facility should have a consistent water supply or source at all times. In low income settings it is always good to have autonomous water source.
2.2. Storage Capacity minimum 2 days of daily water need is always ideal. The storage should be: clean, no leakage and properly placed (protected, shade, easy for regular and occasional maintenance).
2.3. There should be always a backup water supply plan in case of any failure in the running system.
2.4. Normally the direct beneficiaries/users of the water supply system in health facility are staff, patient, caretakers and visitors. In some cases the family of the staff could be considered as direct users and they have to be included in the quantity design. But also there might be churches, mosques, shops, other government offices etc that might be using the water of the health facility making the consumption to increase considerably.
3. Water Quality: - provide acceptable quality water.
3.1. The source (borehole, well spring etc) should always be placed in more than 30 meters from any contamination source like latrines, waste zones, soak pits, etc. If measuring device is not available steps (35-40) can be used for estimation
3.2. The residual chlorine has to be checked if possible daily otherwise at least once in a week. If there is a chance it is always good to test the FRC with your pool tester or any available FRC device, otherwise collect the information by asking with what, how, where and when they do the test.
3.3. Microbial quality/ No risk of pathogens: Ask if microbial test has been done and if so collect a copy. Microbial quality/ No risk of pathogens is assured
· Free residual chlorine concentration at discharge points
ü 0.2 - 0.5 mg/l (if pH < 8) minimum 30 minutes contact time
ü 0.4 - 1.0 mg/l (if pH > 8 minimum 60 minutes contact time
· Or max no E.coli/100 ml at discharge points
3.4. Chemical quality: -Low concentration of compounds that are acutely toxic or that have serious long-term effects
3.5 Physical quality: - Turbidity <5 ntu (20 ntu acute emergency), no smell, no taste, no colour and accepted by the user (staff, patient, caretaker, etc)
4. Hygiene
4.1. All the critical places (consultation rooms, waiting areas, wards, kitchens, latrines, waste zone etc, should have hand washing facility.
4.2. All those had washing facilities should be equipped with soap, or other available detergent or with disinfectant.
4.3. The bathing facilities should be appropriate for users
· well maintained and operated. Cleaned, disnfected, no/less smell, no/less flies etc.
· Culturally and socially appropriate.
· Separate facilities for staff and patients.
· Separation between male and female (small children can go to women’s showers).
· Some showers with seats and handlebars for physically impaired persons
· Located to avoid risk of sexual violence
· Night lights provided and operating (if feasible)
4.4. A health facility depending on the size and the services provided should have infection prevention control committee, mainly those which have inpatient departments. For the clinics and health centres usually not feasible to have IPC committee rather they should have IPC responsible, preferably a medical person.
4.5. Reusable medical equipment and instruments should be cleaned and disinfected with available disinfectant like Chlorine solutions, Surfanois, Hexanois, cresyl etc
4.6. Reusable medical equipment and instruments (Surgical instruments and linen used for major surgical intervention, dressing, sutures, deliveries and minor surgery Fragile instruments, devices in glass, rubber, silicone) should be sterilised with the available sterilisation equipment like autoclave, Ionizing Radiation, Dry-Heat Sterilizers, other high level disinfectant chemicals
4.7. Surfaces (tables, exam beds, delivery bed, etc), ward (floor, wall, ceiling, doors, window etc) and kitchen utensils and environment should be regularly (check schedule and protocol) cleaned (check cleaning materials) and disinfected (check chlorine solution, surfanois, or other registered disinfectants).
4.8. Personal protective equipment’s (gloves, masks, apron, boots/shoes cover, eye protection/goggles,) should be available at all times and used according to the protocol and procedure.
4.9. a health facility should have a designated area (solation room in case of IPD capacity, or for clinics and centres a waiting area for referral) in case of any infectious disease.
4.10. A health facility should have a designated area or room (mainly for inpatient capacity) for laundering
ü The dishes, if a kitchen is present
ü The structure’s laundry (e.g. bed sheets, linen etc.)
ü The patients’ laundry (if required)
NB. All washing areas must be maintained at least once a day
4.11. A health facility should have an infection prevention control protocol/procedure adapted from the national guideline or WHO guideline for the type of facility.
5. Excreta Disposal
5.1 Latrine/toilet should be appropriate for users
Facilities must be culturally and socially appropriate
Separate facilities for staff and patients
Preferably separation between male and female (certainly if culturally necessary)
5.2 Children’s latrines provided near to paediatric ward and feeding centres (or potties), easily accessible by disabled (In-patient health structures IPD, ITFC: some latrines with seats and handlebars for less able persons) and sited not far than 30 meter but not closer than 5 meter from the users.
5.3. Are Latrines/toilets in a safe location (to avoid sexual violence, night lights provided, doors with locks)? Located to avoid risk of sexual violence, lockable doors and Night lights provided and operating
5.4. There should be hand washing facility with soap, other detergent and disinfectant.
5.5. As latrines are one of the faecal contamination risks they should be placed at minimum 30 meter away from any water source (boreholes, wells, springs etc)
6. Wastewater disposal
6.1. Is there any onsite wastewater disposal (infiltration trenches, soak away pits, evaporation pond etc.)? If no, use the comment space explaining how it is disposed of
6.2 If there is onsite disposal, is it sited at more than 30 meter from any water source?
6.3 Are there any wastewater pre-treatment systems like grease trap (grease and soap remover), septic tanks and others?
6.4 Are all waste water treatment and disposal facilities checked and maintained? If yes specify frequency
· "Clean" wastewater …e.g. from tap stand, hand pump (without soap, oil, grease) => Soak away pits (emergency), Infiltration trenches, Proper sealed sewer system, wastewater trucking. > 30 m from any ground water source
· "Dirty" wastewater (with soap, oil, grease) Soak away pits (emergency) Infiltration trenches. Proper sealed sewer system. > 30 m from any ground water source
· Rain and runoff water Natural drainage.
7. Health care waste management
7.1-7.9 Basic understanding
General
Install all waste containers at maximum 5 to 20 m walking distance from where the waste is generated
Provide 3 sharp, 3 soft and 3 organic waste containers per location, one for use, one for rotation, one for spare.
Install at least 1 sharp, 1 soft and 1 organic waste container per 20 beds.
Sharps
Provide appropriate sharps containers in convenient locations
Modified drugs pot (or reusable sharps container if available).
Safety box: in case of immunization, possibly in the early stages of acute emergency or for specific waste (e.g. very long needles) or could be the national standard.
Ensure regular collection and disposal of sharp waste.
Provide appropriate sharps pit:
ü Concrete lined sealed pit or adapted drum/plastic container in case of acute emergency, small health post, starting up phase of bigger structures
ü With Safety Box Reducer if this kind of containers are used in the structure.
Soft waste
Provide appropriate soft waste containers (20-60 l capacity) in convenient locations.
Ensure at least daily collection of soft waste, with safe temporary storage before (potential) treatment.
Ensure disinfection and cleaning of emptied soft waste containers.
Provide appropriate treatment and disposal facilities:
ü De Montfort incinerator (or equivalent or more modern) with 2 ash/residues pits: Ashes and residues deposited directly in ash/residues pits.
ü Covered pit if (very) small quantity of waste and/or lots of space available.
ü Exceptionally, offsite disposal with appropriate transport facilities (e.g. containers, vehicles, waybills) if urban zone/dense population/no space.
Organic waste
Provide appropriate organic waste containers in convenient location
ü Maternity: 15 to 40 l.
ü Operating theatre: 40 to 60 l.
Ensure immediate collection and disposal of organic waste
Ensure disinfection and cleaning and of emptied organic waste containers.
Provide appropriate final disposal facilities:
ü 2 organic waste pits, each with a fixed cover and a ventilation pipe.
ü Exceptionally offsite disposal with appropriate transport facilities (e.g. containers, vehicles, waybills) if urban zone/dense population/no space.
Waste zone
Provide defined waste zone with soft waste storage and all appropriate treatment and disposal facilities located inside.
Install fence around waste zone.
Install washing area with water point within the waste zone.
Install facilities for wastewater evacuation via grease trap to an appropriate disposal system
Ensure management and supervision by designated and trained person(s)
Distance > 50 m from water sources (certainly when organic waste pits are included)
Complete waste zone must be maintained daily.
8. Vector Control
Prevent transmission of vector borne diseases within health structures.
ü Minimise the survival chance and density of vectors in health structures.
ü Reduce contact of persons (e.g. patients, staff) with infected vectors.
ü Reduce contact of vectors with infected patients.
Prevent infestation of vectors and nuisance pests in health structure.
Provide appropriate vector control facilities, equipment and services in addition to the other water and sanitation requirements.
9. Dead Bodies
Ensure safe storage of bodies prior to burial/cremation
ü Provide appropriately sized and located morgue for In-patients structures, with separate morgue for the isolation units. And just identified area and knowledge is required for Health posts.
· Ensure dead bodies are handled safely, and appropriate hygiene and disinfection measures are taken when handling and preparing bodies.
ü General
All persons handling and preparing bodies wear gloves.
All persons handling and preparing bodies wash hands using water and soap after manipulation.
ü Epidemics of contagious diseases (refer to specific guidelines!)
ü Ensure handling, preparation, and burial of bodies is done in a culturally sensitive manner.

## MHPSS
Mental Health and Psychosocial Support (MHPSS)
Mental Health Services | Yes | No | Comments
Does this health facility provide identification and treatment for mental, neurological and substance use disorders? If yes circle which ones: Epilepsy, Psychotic Disorders, Depression, Anxiety, Developmental disorders (mental retardation), Other:
Does this health facility provide follow-up continuation of psychotropic medications? If yes circle which ones : Epilepsy, Psychotic Disorders, Depression, Anxiety, Other:
Does this facility have staff (e.g. psychosocial workers, case managers, social workers) providing mental health case management services? |  |  | M/F
Do staff at this health facility engage in community level mental health promotion and outreach? If yes please describe (e.g. which staff, how often, types of activities):
Are mental disorders documented in weekly or monthly morbidity report?
How many patients with mental disorders were seen in the last month? Provide estimates if exact figures are not available. | # M | # F | Total
Mental and neurological disorders (total)
Psychotic Disorders
Epilepsy
Depression
Anxiety
Developmental disorders (mental retardation)
Non-specific somatic complaints (No organic cause)
Other: __________
MHPSS Referral | Yes | No | Comments
Does this facility have a clear process of referral for patients with mental health problems to specialized secondary or tertiary facilities?
Where is the nearest referral point for specialized mental health care (psychiatrist or psychiatric nurse)?
Name of establishment: Psychiatric hospital
City:
Distance to the health facility:
0-5km
5-10km
more than 10km

## Nutrition
Nutrition
| Yes | No
Does the national protocol for treatment of acute malnutrition exist at the health facility level?
Does the national policy for infant and young child feeding exist at the health center
Does screening for malnutrition (and/or growth monitoring) take place?
Screening/monitoring at the health facility level? At what frequency?
Screening/monitoring at the community level? At what frequency?
How many cases of malnutrition have been detected in the last month?
MAM | Male | Female | Total
Children under 5 years old | 10 | 18
Children over 5 years old
PLW
Adults (including older populations)
SAM | Male | Female | Total
Children under 5 years old | 3 | 7
Children over 5 years old
PLW
Adults (including older populations)
What is the estimated prevalence of severe acute malnutrition (SAM)? | 15%
What is the estimated prevalence of moderate acute malnutrition (MAM)? | 25%
What happens to children suffering from malnutrition?
What happens to children with SAM with complications?
Referred to a hospital
Is there a screening/referral mechanism in the community?
How many cases of children with malnutrition were referred in the last month? | 4
Are nutrition behavior change sessions organized?
Sessions at the facility Frequency?
Sessions in the community Frequency?
Are images used in the lessons?
Is malnutrition included in the topics?
Is nutrition behavior change communication available?
What are the topics?
Treating malnutrition cases Monitoring and surveying children’s cases in general The importance of breastfeeding and complementary foods
Is IYCF counselling and support for women/infants experienceing IYCF difficulties available?
What are the topics?
The importance of breastfeeding from the first hour, exclusive breastfeeding, breastfeeding and the health of mother and child
Routine screening
Community screening
Growth monitoring
Referred
Treated at the facility
Yes
No
Yes
No
Yes
Yes
Yes
No
No
No
Yes
No
No
Yes
No

## GBV
Gender based violence (GBV)
Was survivor support ensured before the onset of crisis/disaster?
Is there a health protocol in place for clinical management of rape and treatment of survivors?
Are survivors of rape, or medical staff, required to report to police or another authority?
Is there a referral system in place for survivors of GBV?
If so, describe how survivors are referred to higher levels of healthcare. If medical referrals are made for survivors of rape, how are records transferred and how are survivors transported:
What types of services are provided for GBV survivors?
Clinical Management of Rape
Management of complications related to female genital cutting (FGC)
Counseling/ psychosocial support/ case management services for survivors
Referrals to other services
Other (specify):
Are essential drugs for post-rape care (PEP, EC, etc) always available?
How are these drugs stored, monitored, and linked to CMR-trained doctors?:
Are survivors identified by name here and by type of treatment? (Is there a coding system?)
Are patient files locked and secured?
Is there a system in place for reporting GBV cases to an agency or government authority?
How many cases of rape have been reported to the health facility (last month/year)?
What other types of GBV have been reported to the health facility (last month/year)?
Is there a safe and confidential place to receive the survivors?
If yes, ask to see it. Is it safe and confidential? Please comment:
What points of protection / social service referrals are available:
Women's Center
Organization/CBO with focused GBV services
Social welfare office / government service
Police / Security Service
Paralegal / legal service
Difficulties / Challenges
What are the main challenges faced in terms of service delivery for GBV survivors?
Lack of a safe place for the survivors (shelter) - the absence of a center for women's empowerment within the camp, which leads to the difficulty of transporting survivors to women's empowerment centers located within the area
Yes
No
Yes
No
Yes
No
Yes
No
Yes
No
Yes
No
Yes
No
Yes
No
Yes
No
Yes
No
Yes
No
Yes
No
Yes
No
No
Yes
No

## HEM HDRR
Health Emergency Management / Health Disaster Risk Reduction
By order of importance, what were the 4 main problem/hazards the health facility faced in the last 12 months?
| Late rain/drought | Yes | Early or heavy rains |  |  | Landslides
| Loss of harvest due to plant disease |  | Loss of livestock |  |  | Theft of money
| Building damaged |  | Fire |  |  | Terrorist attack
| War/conflict |  | Unusually high level of human disease
What type of preparedness, response and risk reduction does the health facility undertake?
Please fill out the following checklist:
|  |  |  | Y | N | Comments
HEM / DRR Planning and Standard Operational Procedures (SOPs)
Is there a facility-level multi-hazard health emergency management / disaster management / service continuity plan? (If yes, request a copy of the plan and indicate when the plan was last reviewed / updated in the comment column). |  |  |  |  | ✔
Does the plan prioritize hazard scenarios (e.g. for pandemics and epidemics, conflict, natural hazard events, etc) with siginifcant likelihoods of occurrence? |  |  |  |  | ✔
Is there a mechanism for implementing apppropriate mitigation to reduce or manage risks identified from the hazard specific risk and vuulnerability analyses? |  |  |  |  | ✔
Does the plan have standard operating procedures outlining staff roles and responsibilities in event scenarios and coordination (command & control; reporting etc) mechanisms? |  |  |  |  | ✔
Does the plan consider facility or system capacity limits to provide "contingency" surge in critical treatment services? |  |  |  |  | ✔
HEM/DRR Coordination Systems and Staff Capacities
Is there a designated health emergency / disaster coordinator? |  |  |  |  | ✔
Does the plan include a health disaster maangement committee? |  |  |  |  | ✔
Is there an established inciden command or health emergency operations coordination system? |  |  |  |  | ✔
Is/are there staff (including doctors & nurses) / extensions workers trained in preparedness, response and mitigation? |  |  |  |  | ✔
Is/are the staff or extension workers (including doctors & nurses) trained in post-disaster health and needs assessments? (PDHNA) |  |  |  | ✔
Is/are there staff or extension workers trained in disease, environmental, vector surveillance? (health early warning) |  |  |  | ✔
Is/are there staff or extension workers with specific training on infection prevention & control (IPC); mass casualties management; and the movement & burial of human remains? |  |  |  |  | ✔